## USFDA
Date EUA Issued | Manufacturer | Diagnostic (Letter of Authorization) | Type of the assay | Technology | Authorization Documents2 | Link to IFU
4/15/2020 | Mount Sinai Laboratory | COVID-19 ELISA IgG Antibody Test | EIA | Serology IgG | HCP, Patients, EUA Summary | In house assay
4/14/2020 | Chembio Diagnostic System, Inc | DPP COVID-19 IgM/IgG System | RDT | Serology IgM and IgG | HCP, Patients, IFU | https://www.fda.gov/media/136963/download
4/14/2020 | Ortho Clinical Diagnostics, Inc. | VITROS Immunodiagnostic Products Anti-SARS-CoV-2 Total Reagent Pack | RDT | Serology Total Antibody | HCP, Patients, IFU | https://www.fda.gov/media/136967/download
2020-01-04 | Cellex Inc. | qSARS-CoV-2 IgG/IgM Rapid Test | RDT | Serology IgM and IgG | HCP, Patients, IFU | https://www.fda.gov/media/136625/download
https://www.fda.gov/medical-devices/emergency-situations-medical-devices/emergency-use-authorizations

## Singapore
Applicant | Name of test | Name of the Manufacturer | Type of the Tests | For more information | IFU link
Everest Links Pte Ltd | VivaDiag™ COVID-19 IgM/IgG Rapid Test | VivaChek Biotech (Hangzhou) Co., Ltd. | RDT | Everest Links Pte Ltd444 KB | https://www.vivachek.com/vivachek/English/prods/prod-covid19.html
Biolidics Limited | Nanjing Vazyme 2019-nCoV IgG/IgM Detection Kit. also marketed as Biolidics 2019-nCoV IgG/IgM Detection Kit | Biolidics Limited | RDT | Biolidics Limited451 KB | https://www.biolidics.com/2019-ncov-igg-igm-antibody-detection-kit
SkyQuest Pte Ltd | Wondfo SARS-CoV-2 Antibody Test | Guangzhou Wondfo Biotech Co., Ltd. | RDT | SkyQuest Pte Ltd449 KB | https://cdn.webshopapp.com/shops/276772/files/323586984/1-ifu-sars-cov-2-antibody-testlateral-flow-method.pdf?_ga=2.6388146.1277199047.1587629837-1676430882.1587629837
Camtech Diagnostics Pte Ltd | Camtech COVID-19 IgM/IgG | Camtech Diagnostics | RDT | Camtech Diagnostics Pte Ltd442 KB | http://covid19-test.com/assets/CamtechIgMIgGRapidKit.pdf

## TGA
Name of test | Type of test | Australian sponsor** | Manufacturer | Date approved for supply | IFU link
2019-n-CoV IgG/IgM Rapid Test Cassette | Lateral Flow IgG/IgM | AM Diagnostics - DC | Hangzhou Alltest Biotech Co Ltd (China) | 2020-03-23 | https://www.hitado.de/media/pdf/b5/df/12/IFU-Acro-Corona-2019-nCoV-IgG-IgM-INCP-402-ACRO-CE-EN-PI-2020-02-21-146198400.pdf
2019-nCoV Ab Test (Colloidal Gold) | Lateral Flow IgG/IgM | AM Diagnostics | Innovita (Tangshan) Biological Technology Co Ltd (China) | 2020-04-20 | https://static1.squarespace.com/static/5c7dbd6e94d71a51298d7528/t/5e8514ec040ef321c8bd9b7f/1585779996273/Package+Insert+2019-nCoV+%28S%26P%26WB%29.pdf
2019-nCOV/COVID-19 IgG/IgM Rapid Test Device | Lateral Flow IgG/IgM | Solasta Life Pty Ltd | Hangzhou Realy Tech Co Ltd (China) | 2020-04-16 | https://novazym.pl/store/rapid-diagnostic/medical/covid-19-igg-igm/
Cellex qSARS-CoV-2 IgG/IgM Cassette Rapid Test kit | Lateral Flow IgG/IgM | Medicision Pty Ltd | Cellex Inc (United States Of America) | 2020-03-31 | https://www.fda.gov/media/136625/download
COVID-19 IgG/IgM Rapid Test Cassette | Lateral Flow IgG/IgM | Amandla China Pty Limited | Zhejiang Orient Gene Biotech Co Ltd (China) | 2020-04-01 | http://www.orientgene.com/asp-en/product/list.aspx?category_id=1094&product_id=8398
OnSite COVID-19 IgG/IgM Rapid Test | Lateral Flow IgG/IgM | MD Solutions Australasia Pty Ltd | CTK Biotech Inc (USA) | 2020-03-19 | https://athenesedx.com/insert/R0180C.pdf
SARS-CoV-2 Antibody Test (Lateral Flow Method) | Lateral Flow IgG/IgM | Allsafe Medical Pty Ltd | Guangzhou Wondfo Biotech Co Ltd (China) | 2020-04-17 | https://cdn.webshopapp.com/shops/276772/files/323586984/1-ifu-sars-cov-2-antibody-testlateral-flow-method.pdf?_ga=2.6388146.1277199047.1587629837-1676430882.1587629837
Wantai SARS-CoV-2 Ab Rapid Test kit | Lateral Flow IgG/IgM | Life Clinic Australia Pty Ltd | Beijing Wantai Biologicalpharmacy Enterprise Co Ltd (China) | 2020-03-27 | http://www.dbaitalia.it/newsletter/wantai_sars-cov-2_ab_rapid_test_-_ce_ifu.pdf

## Nigeria
NAME OF TEST KITS | MANUFACTURER | DATE OF EUA ISSUANCE | APPROVAL | TYPE OF TEST KIT | IFU Link
COVID-19 IgM/IgG AB TEST KIT | CORE TECHNOLOGY CO. LTD ROOM 100 C BUILDING NO 29 LIFE PARK ROAD CHANGPING DISTRICT, BEIJING CHINA | 23 MARCH, 2020 | REGISTRATION CERTIFICATE PR CHINA | RAPID TEST ANTIBODY KITS | No onformation
BIOSYNEX COVID-19 BSS | BIOSYNEX SA FRANCE/ SWITZERLAND | 23 MARCH, 2020 | FRANCE LETTER OF AUTHORIZATION | RAPID TEST ANTIBODY KITS | https://www.mediphos.com/sites/default/files/assets/images/merken/Biosynex/IFU_SW40005_EN_V01202003R01%20(1).pdf
DIAGNOSTIC KIT FOR IgM/IgG ANTIBODY | ZHUHAI LIVZON DIAGNOSTIC INC. NO 266 TONGCHANG ROAD, XIANGZHOU DISTRICT CHINA | 25 MARCH, 2020 | REGISTRATION CERTIFICATE PR CHINA | RAPID TEST ANTIBODY KITS | http://www.livzondiagnostics.com/en-us/info/17.html
STANDARD F COVID-19 Ag FIA TEST KITS | SD BIOSENSOR INC. GYEONGGI-DO 16690 KOREA | 25 MARCH, 2020 | REGISTRATION CERTIFICATE KOREA , FDA ESTABLISHMENT REGISTRATION & DEVICE LISTING | RAPID ANTIGEN TEST KITS | https://bestbion.com/wp-content/uploads/2020/04/bestbiondx_GA_COVID-19-FIA_20200409.pdf
STANDARD Q COVID -19 Ag TEST | SD BIOSENSOR INC. GYEONGGI-DO 16690 KOREA | 25 MARCH, 2020 | REGISTRATION CERTIFICATE KOREA , FDA ESTABLISHMENT REGISTRATION & DEVICE LISTING | RAPID ANTIGEN TEST KITS | http://sdbiosensor.com/xe/product/7672
COVID-19 IgM/IgG RAPID TEST KIT | NANTONG EGENS BIOTECHNOLOGY CO LTD BUILDING 15, BUILDING 12 (WEST) NO 1692 XINGHU AVENUE, NANTONG ECONOMIC & TECHNOLOGHY DEVELOPMENT ZONE, CHINA | 02 APRIL, 2020 | REGISTRATION IN GEMANY FEDERAL INSTITUTE FOR DRUGS AND MEDICAL DEVICES | RAPID TEST ANTIBODY KITS | No onformation
nCoV-19 IgM/IgG RAPID TEST KIT | HANGZHOU BOSURE BIOTECH CO LTD 3RD FLOOR NO 1 1418-25,MOGANSHAN ROAD,HANGZHOU, CHINA. | 01 APRIL, 2020 | REGISTRATION CERTIFICATE PR CHINA | RAPID TEST ANTIBODY KITS | https://novazym.pl/store/rapid-diagnostic/medical/covid-19-igg-igm/
BIOZEK IgM/IgM RAPID TEST CASSETTE | INZEK INTERNATIONAL TRADING, VISSENTRAAT 32 7324 AL APELDOORN, NETHALANDS | 15 APRIL, 2020 | UKMHRA LETTER OF AUTHORIZATION | RAPID TEST ANTIBODY KITS | http://biozek.com/corona-virus-covid-rapid-test/